## Slide 1: Unpolarized and polarized elementary kaon electroproduction at MAMI
Patrick Achenbach
U Mainz
June 2o12

## Slide 2: Electrophotoproduction of strangeness
γ + p  K+ + Λ
γ + p  K+ + Σ0
γ + p  K0 + Σ+
γ + n  K0 + Λ
γ + n  K0 + Σ0
γ + n  K+ + Σ+
γ + N  K + Y
p: proton target
n: neutron target
K0 : neutral kaon
K+ : anti- kaon
In electroproduction …
hadron structure is cleanly probed
electron vertex is well‐known from QED
one‐photon exchange is accurate on the % level

## Slide 3: The “virtual” photon
degree-of-polarization of photons:
ε is Lorentz invariant under boosts along the virtual photon direction
no longitudinal polarization possible for real photons with Q2 = 0
strangeness production in response of nucleon to electromagnetic field
p
p
p
p
Q2 > 0: space-like
Q2 < 0: time-like
space
time
●
●

## Slide 4: p(e,e‘K)Λ in the one-photon-exchange approximation
structure of virtual photoproduction cross section:
for polarized electrons with helicity h:
five-fold differential cross section separates into virtual photon flux and virt. photoproduction
for Q2 → 0 and unpolarized electrons relation to real photoproduction cross section
with degree of polarisation:

## Slide 5: Effective Lagrangian models for strangeness production
• Saclay-Lyon A: no hadronic f. f., SU(3), crossing symmetry,
  nucleon (spin 1/2 and 3/2) and hyperon resonances
  extended Born terms (p, L, S, K), K*(890), K1(1270) [T. Mart, C. Bennhold, Phys. Rev. C 61 (2000) 012201(R)]
• Kaon-MAID: hadronic f. f., SU(3), no hyperon resonances, only nucleon (spin 1/2 and 3/2) resonances
extended Born terms (p, L, S, K), K*(890), K1(1270) [T. Mizutani et al., Phys. Rev. C 58 (1998) 75]
• RPR: Regge model for t-channel
moderate no. of s-channel nucleon resonances
[T. Corthals, D.G. Ireland, T. Van Cauteren, J. Ryckebusch, Phys. Rev. C 75, (2007) 045204]
[Fig. from T. Corthals]

## Slide 6: Predictions for MAMI kinematics
model for dσ/dΩ as a function of Q2 and W at θK = 60° and ε = 0.5
model for dσ/dΩ as a function of cos θK at W = 1.75 GeV
[P. Achenbach et al. (A1 Collaboration), Nucl. Phys. A 881 2012)]

## Slide 7: Measurements at MAMI

## Slide 8: Dedicated kaon spectrometer Kaos
A
B
C
KAOS

## Slide 9: Kaon electro-production measurements at MAMI
March/April 2oo8: commissioning of the KAOS spectrometer
Sept./Oct. 2oo8: 1st campaign on kaon electroproduction
July 2oo9: 2nd campaign on kaon electroproduction
Nov. 2o11: 3rd campaign on kaon electroproduction
Q2 range 0.03-0.055 (GeV/c)2 not accessible at any other accelerator worldwide
strange particle and fragment production at W > 1.6 GeV
W = 1650 – 1750 GeV in 3rd resonance region of the proton
[P. Achenbach et al. (A1 Collaboration), Eur. Phys. J ST 198 2011)]

## Slide 10: Kaon identification
time-of-flight reso-lution within Kaos
FWHM = 400 ps
π : K : p 1 : 0.03 : 1.38
with cuts on time-of-flight and missing mass

## Slide 11: Reaction identification
with cuts on dE/dx
extraction of cross-section using background-corrected kaon-Λ yield, luminosity, acceptance, efficiencies, kaon survival, radiative corrections:

## Slide 12: Unpolarized structure functions

## Slide 13: KΛ cross section at Q2 = 0.036
[P. Achenbach et al. (A1 Collaboration), Eur. Phys. J. A 48 2012)]
first time measurement of cross-section at low Q²
only small differences to photoproduction data observed
original K-MAID model excluded with high significance

## Slide 14: KΛ cross section at Q2 = 0.05
Q² = 0.05 data confirms the observed trend
in combined data Q² extends from 0.030–0.055 (GeV/c)2
[P. Achenbach et al. (A1 Collaboration), Eur. Phys. J. A 48 2012)]

## Slide 15: Longitudinal couplings in K-Maid
strong longitudinal coupling → steep increase of cross-section with Q2
[P. Achenbach et al. (A1 Collaboration), Eur. Phys. J. A 48 2012)]

## Slide 16: Comparison with modern isobar model variants
[K-Maid extended: private communication with T. Mart]
[K-Maid reduced: private communication with P. Bydžovský]
K-Maid reduced
K-Maid extended
modern isobar models use small or vanishing longitudinal couplings

## Slide 17: Results for the KΣ-channel
first time measurement of cross-section at low Q²
only small differences to photoproduction data observed
original K-MAID model excluded with high significance
[P. Achenbach et al. (A1 Collaboration), Eur. Phys. J. A 48 2012)]

## Slide 18: Polarized structure functions

## Slide 19: Model predictions
[Model provided by P. Vancraeyveld ]
[Model provided by P. Bydžovský]
[Model provided by P. Bydžovský]
[Model available online]

## Slide 20: Accessing helicity asymmetries
MAMI delivers a stable 1.5 GeV electron beam with high polarization on high-power liquid hydrogen target
target | liquid H2
target thickness | 370 mg/cm2
beam intensity | 10 μA
Pbeam ~ 87 %

## Slide 21: Out-of-plane setup at MAMI
Φ ~ 40°
kaon | spectrometer | Kaos
 | in-plane angle | 21 – 43 deg
 | central momentum | 0.52 GeV/c
e’ | spectrometer | SpecB
 | in-plane angle | 15 deg
 | central momentum | 0.36 GeV/c

## Slide 22: Improved background rejection
new aerogel Cherenkov detector for kaon ID
new scintillator wall for PID by single-arm TOF
new FPGA trigger with improved timing
smaller systematic errors in the simulation
much improved tracking code

## Slide 23: Improved kaon identification
momentum [GeV/c]
momentum [GeV/c]
time-of-flight [ns]
time-of-flight [ns]
without dE/dx cuts
with dE/dx cuts on kaons

## Slide 24: Preliminary helicity asymmetries

## Slide 25: Connection to CLAS data at Q2 > 0.5 (GeV/c)2
[Model provided by P. Vancraeyveld ]
[Data point from Nasseripour et al. (CLAS Collab.), Phys. Rev. C 77, 065208 (2008)]
MAMI preliminary data point without error bars

## Slide 26: Conclusions
strangeness physics programme at MAMI is complementary to other laboratories (esp. Jefferson Lab)
kaon electroproduction structure functions at low Q² extracted (from 2oo8/2oo9 data)
polarized structure functions at low Q² extracted (from 2o11 data)
What can be learned:
  models with large σL contributions excluded
    → more observables are needed to characterize the reaction
  σLT‘ is sensitive to interference terms between assumed resonances
    → non-trivial physical information on dynamics of the process
  at energies ~1.7 GeV and higher Q2 CLAS data shows enhancement
    → unknown resonance structure
    → more data at low Q2 improves interpretation

## Slide 27: Jefferson Lab results

## Slide 28: Unpolarized structure functions

## Slide 29: Unseparated Λ and Σ cross sections
[Ambrozewicz et al., Phys. Rev. C 75 (2007) 045203]
σU = σT + ε σL

## Slide 30: Separated Λ cross sections
1 Q2 (GeV/c)2
[Coman et al., Phys. Rev. C 81 (2010) 052201]
1 Q2 (GeV/c)2
[Mohring et al., Phys. Rev. C 67 (2003) 055205]

## Slide 31: Separated Λ cross sections
[Ambrozewicz et al., Phys. Rev. C 75 (2007) 045203]
CLAS data suggests vanishing longitudinal parts

## Slide 32: Unpolarized interference structure functions
[Ambrozewicz et al., Phys. Rev. C 75 (2007) 045203]

## Slide 33: Polarized structure functions

## Slide 34: CLAS data at Q2 > 0.5 (GeV/c)2
[Nasseripour et al. (CLAS Collaboration), Phys. Rev. C 77, 065208 (2008)]
MB isobar model (blue long dashes)
GLV Regge model (red dash-dot)
Ghent RPR model including a D13(1900) state (green solid)
Ghent RPR model including a P11(1900) state (green short dashes)